## Sheet1
File Folders will contain: Study Metadata File, Tabular Data with readings from equipment | Measurement: Analytical Chemistry Ontology: http://purl.bioontology.org/ontology/MESH/D002623
Supporting Literature: Silva-Santana et al 2020 Otto et al 2016 Quimby and Luong 2007 | Technology: Clinical Chemistry Analysis Ontology: http://purl.obolibrary.org/obo/OBI_0000520
SME Feedback Form
ALSDA Assay Metadata Configuration for Clinical Chemistry Analysis
Parameter | Example Value | Notes | SME Name:
Clinical Chemistry Analysis |  |  | For each of the rows on the left, please provide feedback in your column. This could be suggested edits to the parameter, suggested removal (if you believe it's unnecessary), etc.
Subject Fasting or Not Fasting | e.g. Fasting
Duration of Fast | e.g. 8 hours
Time of Day of Sample Collection | e.g. Morning
Number of Individuals Collecting Samples | e.g. 1
Sedation Agent and Delivery Method | e.g. intraperitoneal xylazine hydrochloride and ketamine hydrochloride
Sample Collection Site Cleaning Reagent | e.g. 70% EtOH
Sample Collection Technique or Device | e.g. 27 Ga needle, capillary tube, weigh boat
Sample Collection Site | e.g. tail vein, intracardiac puncture
Sample Collection Container or Tube Description | e.g. SST Serum Separator Tube
Sample Collection Container or Tube Manufacturer and Catalog Number | e.g. BD, 02-683-145
Sample Collection Container Additives | e.g. EDTA, clot activator and gel
Sample Collection Volume per Subject | e.g. 500 uL
Sample Dilution and Reagent | e.g. 1:2 with deionized water
Blood Clot Retraction Time | e.g. 30 minutes
Time Delay to Separation for Plasma | e.g. 2 hours
Sample Storage Temperature | e.g. 4C
Time Delay to Processing | e.g. 12 hours
Number of Tests in Run | e.g. 12
Names of Tests in Run | e.g. total protein (TP), triglycerides (TG), cholesterol (CHL), alkaline phosphatase (AP), uric acid (UA), alanine transaminase (ALT), aspartate transaminase (AST), albumin (ALB), globulin (GLB), glucose (GLC), creatinine (CR) and urea (UR)
Analyzer Device Brand and Version | e.g. Siemens Dimension RxL Max, Vitros 350 Clinical Chemistry System
Biochemical Kits Manufacturer and Catalog Number | e.g. Labtest Diagnosis
Calibration Controls Manufacturer and Catalog Number | e.g. Labtest Diagnosis
Any suggested parameters to add?
Outcome/Dependent Variable Measures |  |  | Outcome/Dependent Variable Measures Any Variables (with applicable units) to add?
Total protein g /dL | Creatinine mg /dL | phosphorus
Albumin g /dL | Uric acid mg /dL | total iron binding capacity
aspartate transaminase AST U /L | Serum glucose mg /dL
alanine transaminase ALT U /L | Sodium mmol /L
alkaline phosphatase ALP U /L | Potassium mmol /L
gamma-glutamyl transpeptidase GGT U /L | Chloride mmol /L
lactate dehydrogenase LD U /L | carbon dioxide
Total cholesterol mg /dL | bilirubin direct
high-density lipoprotein HDL cholesterol mg /dL | bilirubin total
low-density lipoprotein LDL cholesterol mg /dL | calcium
Triglyceride mg /dL | ferritin
Total amylase U /L | iron
blood urea nitrogen BUN mg /dL | magnesium