## Sheet2
Sample Name | Protocol REF | Technique | Sample | Approximate Material Dimensions | Substrate | Immobilization Method | Sample Medium | Sample Surface Area | Section Thickness | Protocol REF | Mode of Operation | Imaging Temperature | Minimum Applied Force | Spring Constant | Scanning Rate (Frequency) | Scanning Force | Indentation Rates | Test Attributes (Tension, compression, 3pt, 4pt) | Control Mode (Load or Displacement Control) | Is this test monotonic or fatigue | Displacement Rate (Rate of applied load or displacement) | Scans of Sample | Protocol REF | AFM Model (manufacturer, model number) | AFM Probe Used | Does the probe have a tip or is it tipless? | AFM Tip or Sphere material | AFM Cantilver shape | Spring Constant | AFM Tip Radius | Cantilever Length | Protocol REF | Image Type Taken | Amount of Micrographs Taken | Image Resolution | Scan Reigon | Alighment or Location along sample | Image Processing Software | Assay Name | Raw Data File | Processed Data File | Supplementary Files
1 | Sample and Substrate | e.g. AM-AFM, EFM, KFM, MRM, Biomodal AFM, FMM, AFAM, UAFM | e.g. Collagen | e.g. 25 sq nm | e.g. mica, glass, silicon oxide, Isopore polycarbonate membranes, etc | e.g. mechanical trapping | e.g. Aqeous , In Air, or other (5uL of solution) | e.g. 400 × 400 nm2 | e.g. 20 nm | Scanning Settings | e.g. Lateral force microscopy, Nanoindentation mode, Dynamic force\intermittement contact, Force modulation, Phase imaging, Force spectroscopy or other | e.g. 20 degrees Celcius | e.g. 500 nN | e.g. 2.7 N/m | e.g. 0.8-0.9 kHz | e.g. 1-2 nN | e.g. 0.1, 0.5, 1, 2, and 5 μm s^-1 | e.g. 3pt | e.g. Load Control | e.g. monotonic | e.g. 0.01 mm/s | e.g. 100 um | Subject AFM Probe an Cantilever Particulars | e.g. Veeco Metrology Group, Nanoscope IV Multimode AFM | e.g. qp-BioAC, SNL-10 | e.g. Tip or Tipless (with 5 um diameter silica sphere) | e.g. Silicon or silicon nitride, reflective gold | e.g. Parabaloid, spherical, triangular | e.g. 0.01 Nm^-1 | e.g. 10 nm | e.g. 100 nm | Subject State and Positioning | e.g. Height, Deflection, and or Phase | e.g. 50 | e.g. 1024 x 1024px | e.g. 50 um x 50 um | e.g. corners and center | e.g. Nanoscope Analysis v3.0, JPK Data Processing Software, Gwyddion | Assay Name | Raw Data File | Processed Data File | Supplementary Files
| Please describe the Sample and Substrate | [8 empty] | Please describe the Scanning Settings | [12 empty] | Please describe the Subject AFM Probe an Cantilever Particulars | [8 empty] | Please describe the Subject State and Positioning