## Sheet2
Sample Name | Protocol REF | Microscope Make and Model | Electron Beam Source | Beam Current or kV | Spot Size aka Probe Diameter | Working Distance | Detectors | Stage | Protocol REF | Select: Individual Images / Image Array or Plate | Platform | Array Information | Number of samples per position | Sample metadata | Protocol REF | Number of biological markers | Marker type | Molecule / structure labeled | Marker Channel | Protocol REF | Environmental conditions: CO2 concentration | Environmental conditions: O2 concentration | Environmental conditions: Temperature | Protocol REF | Primary Fixation: Chemical | Primary Fixation: Concentration | Primary Fixation: Duration | Primary Fixation: Temperature | Secondary Fixation or Stain: Chemical | Secondary Fixation or Stain: Concentration | Secondary Fixation or Stain: Duration | Secondary Fixation or Stain: Temperature | Tertiary Fixation or Stain: Chemical | Tertiary Fixation or Stain: Concentration | Tertiary Fixation or Stain: Duration | Tertiary Fixation or Stain: Temperature | Protocol REF | Dehydration: Chemical | Dehydration: Concentration | Dehydration: Duration | Dehydration: Critical Point Dry | Coating: Material | Coating: Thickness | Protocol REF | Storage: type | Storage: Duration | Storage: Temperature
e.g. GC1 | Microscope Type and Settings | e.g. Zeiss Supra 35VP | e.g. Tungsten | e.g. 5 kV | e.g. | milimeter | e.g. Backscattered electron detector (BSD) | e.g. cryostage | PLATFORM AND SAMPLE | Select: Individual Images / Image Array or Plate | e.g. Pin Stub | e.g. define each component in the array if any | e.g. 15 | e.g. sample ID | LABELING INFORMATION | e.g. 3 | e.g. Iodine | e.g. Nucleus | e.g. Backscatter | ENVIRONMENTAL CONDITIONS | e.g. 5% | e.g. 20% | e.g. 37C | Fixation and Staining | e.g. paraformaldehyde | e.g. 4% | e.g. 15min | e.g. 23 degrees Celsius | e.g. Osmium Tetroxide | e.g. 4% | e.g. 20 min | e.g. 23 degrees Celsius | e.g. Uranyl Acetate | e.g. 0.5% | e.g. 20 min or overnight | e.g. 23 degrees Celsius | Dehydration | eg. ethanol series | eg. 30 min. | eg. 25% 50% 75% 95% 100% 100% | Yes or No | e.g. gold | e.g. 2nm | Storage | e.g. desiccator | e.g. 1 year | e.g. 4 degrees C
| Please describe Microscope Type and Settings methods here. | [7 empty] | Please describe Platform and Sample methods here. | [5 empty] | Please describe Labeling Information methods here. |  |  |  |  | Please describe the Environmental Conditions of microscope here. |  |  |  | Please describe the Fixation and Staining methods here. | [12 empty] | Please describe the Dehydration methods here. | [6 empty] | Please describe the Storage methods here.