## Sheet1
Oxygen Radical Absorbance Capacity table describes how the assay was performed - from Automated Extraction Procedure to data generation
OSD Number:
Sample Name | ProtocolREF | Amount of Sample Used For Extraction | Unit | Solvents or Reagents Used For Extraction | Extraction Solvent Company and Catalog Number | Extraction Mixture Dilution Factor | Automated Extracted System Used | Extraction System Cell Type | Extraction System Static Time | Unit | Extraction System Percent Flush Extract | Unit | Extraction System Purge Time | Unit | Number of Cycles | Extraction System Pressure | Unit | Extraction Temperature | Unit | Extraction Cell Size | Unit | ProtocolREF | Amount of Sample Used For Extraction | Unit | Solvents or Reagents Used For Extraction | Extraction Solvent Company and Catalog Number | Extraction Mixture Dilution Factor | Mechanical Extraction Method Used | Mechanical Extraction Duration | Unit | Filtration Method | ProtocolREF | Sample Diluent Used | Dilution Factor | Fluorescent Probe Used | Probe Concentration | Type of Radical Generator | Radical Generator Diluent | Radical Generator Concentration | Unit | Standard Antioxidant Used | Antioxidant Concentration Range | Unit | Blank Control Used | ProtocolREF | Microplate Description | Volume of Sample Added | Unit | Volume of Probe Added | Unit | Incubation Duration | Unit | Incubation Temperature | Unit | Volume of Radical Generator Added | Unit | Device Model and Manufacturer | Excitation Wavelength Used | Unit | Emission Wavelength Used | Unit | Interval Between Reads | Unit | Total Measurement Duration | Unit | Software Used for Acquisition | Analysis Software | Analysis Method | Number of Technical Replicates per Sample | Assay Name | Raw Data File
Sample names in the sample table and assay table should match exactly | Automated Extraction Procedure | e.g. 0.5 |  | e.g. acetone:water:acetic acid | e.g. Sigma Aldrich | e.g. 70:29.5:0.5 | e.g. Dionex Automated Solvent Extraction System | e.g. ASE350 | e.g. 5 |  | e.g. 60 |  | e.g. 90 |  | e.g. 1 | e.g. 1500 |  | e.g. 80 |  | e.g. 30 |  | Manual Extraction Procedure | e.g. 0.5 |  | e.g. acetone:water:acetic acid | e.g. Sigma Aldrich | e.g. 70:29.5:0.5 | e.g. sonication, vortexing | e.g. 30 |  | e.g. centrifugation | Assay Components | e.g. 1X PBS | e.g. 100:1 | e.g. Fluorescein | e.g. 1:100 | e.g. AAPH | e.g. PBS | e.g. 20 |  | e.g. Trolox | e.g. 0-50 |  | e.g. PBS | Assay Procedure | e.g. black 96-well | e.g. 20 |  | e.g. 150 |  | e.g. 30 |  | e.g. 37 |  | e.g. 25 |  | e.g. BioTek Synergy Hybrid | e.g. 480 |  | e.g. 520 |  | e.g. 1 |  | e.g. 60 |  | e.g. BioTek Gen5 | e.g. GraphPad Prism | e.g. AUC, Blank Subtraction | e.g. 3 | Assay Name | Raw Data File
| Please describe the Automated Extraction Procedure protocol here. | [20 empty] | Please describe the Manual Extraction Procedure protocol here. | [9 empty] | Please describe the Assay Components protocol here. | [12 empty] | Please describe the Assay Procedure protocol here.