## pQCT Assay
Sample Name | Protocol REF | Was Subject Anesthetized | Anesthesia Method | Was Calibration Performed | What Calibration Was Performed | Scanner | Volume Of Interest | Volume Of Interest Size | Voxel Size | Kilovolt Peak | XRay Intensity Current | Integration Time Exposure | Protocol REF | Image Filtration Algorithm | Segmentation Selection Method | Segmentation Contour Method | Filter Support Value | Threshold Approach | Threshold Value
e.g. GC1 | Scan | e.g. yes | e.g. 1.5% isofluorane | e.g. yes | e.g. daily with manufacturer-supplied hydroxyapatite phantom | e.g. XtremeCT, Scanco Medical AG | e.g. ultra-distal tibia and ultra-distal radius | e.g. 984 um | e.g. 60 um | e.g. 56 kV | e.g. 95 mA | e.g. 9000 ms | Image Processing | e.g. Laplace-Hamming, Gaussian | e.g. Manual, Automatic | e.g. semi automated hand-drawn contour of the periosteal surface, generated using the scanner manufacturer's software | e.g. 0.8 | e.g. mg HA per cm3, Greyscale | e.g. 400
| Please describe the Scan protocol methods here. | [11 empty] | Please describe the Image Processing protocol methods here.